## User's guide
USER'S GUIDE
Goal: this example illustrates how to use Simulis Thermodynamics to determine the necessary water input flowrate to obtain a specified vapor flowrate using a steam electric boiler and then the corresponding OPEX.
In order to use this model, user has to select (blue zone):
The water inlet temperature (T_IN)
The water inlet pressure (P_IN)
The water marginal cost (C_IN)
The electric boiler yield (Yield)
The proportional term (A) of the purge function (F_p=A*F_IN+B) (C_A)
The proportional term (B) of the purge function (F_p=A*F_IN+B) C_B)
The electric marginal cost (C_el)
The steam outlet temperature (T_OUT)
The steam outlet pressure (P_OUT)
The required steam vapor flowrate (F_OUT)
All the results are in the yellow cells
All the cost data or results are in green cells
All the cells contain comments
Assumptions
The thermodynamic model used for properties calculations is a specific thermodynamic model for pure water

## Electric boiler calculation
STEAM ELECTRIC BOILER
Inlet Stream
[5 empty] | Variable | Value | Unit | Variable | Value | Unit
[5 empty] | T_IN | 40 | #NAME? | F_IN | 210.5263 | #NAME?
[5 empty] | P_IN | 2 | #NAME? | H_IN | #NAME? | #NAME?
[5 empty] | C_IN | 3 | $/ton | W_IN | #NAME? | #NAME?
| PURE COMPONENT |  | #NAME? |  | X_H2O_IN | 1 | - | C_TOT_W | 631.5789 | $/hr
| THERMODYNAMIC MODEL |  | #NAME?
DATA
| COST | [5 empty] | IN
|  | Boiler characteristics | [5 empty] | Electric cost
|  | Variable | Value | Unit |  |  |  | Variable | Value | Unit
|  | Yield | 81 | #NAME? |  |  |  | C_el | 0.1 | $/kWh
|  | C_A | 0.05 | - |  |  |  | Cons_el | #NAME? | #NAME?
|  | C_B | 0 | #NAME? |  |  |  | C_TOT_el | #NAME? | $/hr
|  |  | PURGE |  |  |  | PRODUCT
| Purge stream |  |  |  | Outlet Stream
| Variable | Value | Unit |  | Variable | Value | Unit | Variable | Value | Unit
| F_P | 10.5263 | #NAME? |  | T_OUT | 500 | #NAME? | H_OUT | #NAME? | #NAME?
| H_P | #NAME? | #NAME? |  | P_OUT | 20 | #NAME? | W_OUT | #NAME? | #NAME?
| W_P | #NAME? | #NAME? |  | F_OUT | 200 | #NAME? | C_OUT | #NAME? | $/ton
| T_P | #NAME? | #NAME? |  | X_H2O_OUT | 1 | - | C_TOT_S | #NAME? | $/hr
| C_TOT_P | #NAME? | $/hr |  |  |  |  | RE | #NAME?
Note on B31: Purge flowrate
Note on B32: Purge enthalpy
Note on B33: Purge power
Note on B34: Purge outlet temperature
Note on B35: Purge losses cost
Note on C19: Electric boiler global yield
Note on C20: Proportional term (A) of the purge function (F_p=A*F_IN+B)
Note on C21: Constant term (B) of the purge function (F_p=A*F_IN+B)
Note on F6: Steam inlet temperature
Note on F7: Steam inlet pressure
Note on F8: Inlet Cost
Note on F9: H2O Inlet Mass fraction
Note on F31: Steam outlet temperature
Note on F32: Steam outlet pressure
Note on F33: Steam required flowrate
Note on F34: H2O Outlet Mass fraction
Note on I6: Steam inlet flowrate
Note on I7: Inlet enthalpy
Note on I8: Inlet power
Note on I9: Water total Cost
Note on I19: Electric marginal cost
Note on I20: Electric consumption
Note on I21: Electric total cost
Note on I31: Outlet enthalpy
Note on I32: Steam power
Note on I33: Steam mean cost
Note on I34: Steam total cost
Note on I35: Energetic conversion